## bus
| name | vn_kv | type | zone | in_service | min_vm_pu | max_vm_pu
0 | LVbus 1 | 0.4 | n |  | TRUE | 0.95 | 1.05
1 | MVbus 1 | 20 | n |  | TRUE | 0.95 | 1.05
2 | Connection Nodebus 5849 | 0.4 | n |  | TRUE | 0.95 | 1.05
3 | Connection Nodebus 5850 | 0.4 | n |  | TRUE | 0.95 | 1.05
4 | Connection Nodebus 1745 | 0.4 | n |  | TRUE | 0.95 | 1.05
5 | Connection Nodebus 4408 | 0.4 | n |  | TRUE | 0.95 | 1.05
6 | Connection Nodebus 5067 | 0.4 | n |  | TRUE | 0.95 | 1.05
7 | Connection Nodebus 1768 | 0.4 | n |  | TRUE | 0.95 | 1.05
8 | Connection Nodebus 4278 | 0.4 | n |  | TRUE | 0.95 | 1.05
9 | Connection Nodebus 3582 | 0.4 | n |  | TRUE | 0.95 | 1.05
10 | Connection Nodebus 3584 | 0.4 | n |  | TRUE | 0.95 | 1.05
11 | Connection Nodebus 4282 | 0.4 | n |  | TRUE | 0.95 | 1.05
12 | Connection Nodebus 5472 | 0.4 | n |  | TRUE | 0.95 | 1.05
13 | Connection Nodebus 1759 | 0.4 | n |  | TRUE | 0.95 | 1.05
14 | Connection Nodebus 2136 | 0.4 | n |  | TRUE | 0.95 | 1.05
15 | Connection Nodebus 284 | 0.4 | n |  | TRUE | 0.95 | 1.05
16 | Connection Nodebus 3244 | 0.4 | n |  | TRUE | 0.95 | 1.05
17 | Connection Nodebus 5492 | 0.4 | n |  | TRUE | 0.95 | 1.05
18 | Connection Nodebus 4201 | 0.4 | n |  | TRUE | 0.95 | 1.05
19 | Connection Nodebus 4715 | 0.4 | n |  | TRUE | 0.95 | 1.05
20 | Connection Nodebus 3242 | 0.4 | n |  | TRUE | 0.95 | 1.05
21 | Connection Nodebus 5083 | 0.4 | n |  | TRUE | 0.95 | 1.05
22 | Connection Nodebus 2117 | 0.4 | n |  | TRUE | 0.95 | 1.05
23 | Connection Nodebus 4242 | 0.4 | n |  | TRUE | 0.95 | 1.05
24 | Connection Nodebus 1748 | 0.4 | n |  | TRUE | 0.95 | 1.05
25 | Connection Nodebus 1761 | 0.4 | n |  | TRUE | 0.95 | 1.05
26 | Connection Nodebus 2132 | 0.4 | n |  | TRUE | 0.95 | 1.05
27 | Connection Nodebus 3194 | 0.4 | n |  | TRUE | 0.95 | 1.05
28 | Connection Nodebus 1749 | 0.4 | n |  | TRUE | 0.95 | 1.05
29 | Connection Nodebus 784 | 0.4 | n |  | TRUE | 0.95 | 1.05
30 | Connection Nodebus 1766 | 0.4 | n |  | TRUE | 0.95 | 1.05
31 | Connection Nodebus 5401 | 0.4 | n |  | TRUE | 0.95 | 1.05
32 | Connection Nodebus 4820 | 0.4 | n |  | TRUE | 0.95 | 1.05
33 | Connection Nodebus 1754 | 0.4 | n |  | TRUE | 0.95 | 1.05
34 | Connection Nodebus 1774 | 0.4 | n |  | TRUE | 0.95 | 1.05
35 | Connection Nodebus 1287 | 0.4 | n |  | TRUE | 0.95 | 1.05
36 | Connection Nodebus 3240 | 0.4 | n |  | TRUE | 0.95 | 1.05
37 | Connection Nodebus 3238 | 0.4 | n |  | TRUE | 0.95 | 1.05
38 | Connection Nodebus 1763 | 0.4 | n |  | TRUE | 0.95 | 1.05
39 | Connection Nodebus 5013 | 0.4 | n |  | TRUE | 0.95 | 1.05
40 | Connection Nodebus 3236 | 0.4 | n |  | TRUE | 0.95 | 1.05
41 | Connection Nodebus 3266 | 0.4 | n |  | TRUE | 0.95 | 1.05
42 | Connection Nodebus 3200 | 0.4 | n |  | TRUE | 0.95 | 1.05
43 | Connection Nodebus 1896 | 0.4 | n |  | TRUE | 0.95 | 1.05
44 | Connection Nodebus 1757 | 0.4 | n |  | TRUE | 0.95 | 1.05
45 | Connection Nodebus 3264 | 0.4 | n |  | TRUE | 0.95 | 1.05
46 | Connection Nodebus 3232 | 0.4 | n |  | TRUE | 0.95 | 1.05
47 | Connection Nodebus 1814 | 0.4 | n |  | TRUE | 0.95 | 1.05
48 | Connection Nodebus 3196 | 0.4 | n |  | TRUE | 0.95 | 1.05
49 | Connection Nodebus 1772 | 0.4 | n |  | TRUE | 0.95 | 1.05
50 | Connection Nodebus 3262 | 0.4 | n |  | TRUE | 0.95 | 1.05
51 | Connection Nodebus 1472 | 0.4 | n |  | TRUE | 0.95 | 1.05
52 | Connection Nodebus 1770 | 0.4 | n |  | TRUE | 0.95 | 1.05
53 | Connection Nodebus 3598 | 0.4 | n |  | TRUE | 0.95 | 1.05
54 | Connection Nodebus 3403 | 0.4 | n |  | TRUE | 0.95 | 1.05
55 | Connection Nodebus 3202 | 0.4 | n |  | TRUE | 0.95 | 1.05
56 | Connection Nodebus 3256 | 0.4 | n |  | TRUE | 0.95 | 1.05
57 | Connection Nodebus 3260 | 0.4 | n |  | TRUE | 0.95 | 1.05
58 | Connection Nodebus 1921 | 0.4 | n |  | TRUE | 0.95 | 1.05
59 | Consumer Nodebus 283 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
60 | Consumer Nodebus 783 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
61 | Consumer Nodebus 1744 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
62 | Consumer Nodebus 1747 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
63 | Consumer Nodebus 1752 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
64 | Consumer Nodebus 1753 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
65 | Consumer Nodebus 1756 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
66 | Consumer Nodebus 1758 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
67 | Consumer Nodebus 1760 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
68 | Consumer Nodebus 1762 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
69 | Consumer Nodebus 1765 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
70 | Consumer Nodebus 1767 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
71 | Consumer Nodebus 1769 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
72 | Consumer Nodebus 1771 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
73 | Consumer Nodebus 1773 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
74 | Consumer Nodebus 1813 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
75 | Consumer Nodebus 1895 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
76 | Consumer Nodebus 1920 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
77 | Consumer Nodebus 2114 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
78 | Consumer Nodebus 2116 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
79 | Consumer Nodebus 2131 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
80 | Consumer Nodebus 2135 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
81 | Consumer Nodebus 3193 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
82 | Consumer Nodebus 3195 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
83 | Consumer Nodebus 3197 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
84 | Consumer Nodebus 3198 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
85 | Consumer Nodebus 3199 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
86 | Consumer Nodebus 3201 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
87 | Consumer Nodebus 3231 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
88 | Consumer Nodebus 3235 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
89 | Consumer Nodebus 3237 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
90 | Consumer Nodebus 3239 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
91 | Consumer Nodebus 3241 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
92 | Consumer Nodebus 3243 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
93 | Consumer Nodebus 3255 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
94 | Consumer Nodebus 3259 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
95 | Consumer Nodebus 3261 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
96 | Consumer Nodebus 3263 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
97 | Consumer Nodebus 3265 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
98 | Consumer Nodebus 3402 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
99 | Consumer Nodebus 3581 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
100 | Consumer Nodebus 3583 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
101 | Consumer Nodebus 3585 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
102 | Consumer Nodebus 3597 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
103 | Consumer Nodebus 4200 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
104 | Consumer Nodebus 4241 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
105 | Consumer Nodebus 4277 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
106 | Consumer Nodebus 4281 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
107 | Consumer Nodebus 4407 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
108 | Consumer Nodebus 4714 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
109 | Consumer Nodebus 4805 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
110 | Consumer Nodebus 4819 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
111 | Consumer Nodebus 5012 | 0.4 | n | MFH | TRUE | 0.95 | 1.05
112 | Consumer Nodebus 5066 | 0.4 | n | MFH | TRUE | 0.95 | 1.05
113 | Consumer Nodebus 5082 | 0.4 | n | MFH | TRUE | 0.95 | 1.05
114 | Consumer Nodebus 5400 | 0.4 | n | MFH | TRUE | 0.95 | 1.05
115 | Consumer Nodebus 5471 | 0.4 | n | MFH | TRUE | 0.95 | 1.05
116 | Consumer Nodebus 5491 | 0.4 | n | MFH | TRUE | 0.95 | 1.05

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type | max_p_mw
0 | Load 283 household 1 | 59 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
1 | Load 283 household 2 | 59 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
2 | Load 783 household 1 | 60 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
3 | Load 1744 household 1 | 61 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
4 | Load 1747 household 1 | 62 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
5 | Load 1747 household 2 | 62 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
6 | Load 1752 household 1 | 63 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
7 | Load 1752 household 2 | 63 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
8 | Load 1753 household 1 | 64 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
9 | Load 1756 household 1 | 65 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
10 | Load 1756 household 2 | 65 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
11 | Load 1758 household 1 | 66 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
12 | Load 1760 household 1 | 67 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
13 | Load 1760 household 2 | 67 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
14 | Load 1762 household 1 | 68 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
15 | Load 1765 household 1 | 69 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
16 | Load 1767 household 1 | 70 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
17 | Load 1767 household 2 | 70 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
18 | Load 1769 household 1 | 71 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
19 | Load 1769 household 2 | 71 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
20 | Load 1771 household 1 | 72 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
21 | Load 1771 household 2 | 72 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
22 | Load 1773 household 1 | 73 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
23 | Load 1813 household 1 | 74 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
24 | Load 1895 household 1 | 75 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
25 | Load 1920 household 1 | 76 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
26 | Load 1920 household 2 | 76 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
27 | Load 2114 household 1 | 77 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
28 | Load 2116 household 1 | 78 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
29 | Load 2131 household 1 | 79 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
30 | Load 2135 household 1 | 80 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
31 | Load 3193 household 1 | 81 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
32 | Load 3193 household 2 | 81 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
33 | Load 3195 household 1 | 82 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
34 | Load 3197 household 1 | 83 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
35 | Load 3197 household 2 | 83 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
36 | Load 3198 household 1 | 84 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
37 | Load 3199 household 1 | 85 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
38 | Load 3201 household 1 | 86 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
39 | Load 3201 household 2 | 86 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
40 | Load 3231 household 1 | 87 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
41 | Load 3231 household 2 | 87 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
42 | Load 3235 household 1 | 88 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
43 | Load 3235 household 2 | 88 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
44 | Load 3237 household 1 | 89 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
45 | Load 3239 household 1 | 90 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
46 | Load 3241 household 1 | 91 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
47 | Load 3241 household 2 | 91 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
48 | Load 3243 household 1 | 92 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
49 | Load 3255 household 1 | 93 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
50 | Load 3259 household 1 | 94 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
51 | Load 3261 household 1 | 95 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
52 | Load 3263 household 1 | 96 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
53 | Load 3265 household 1 | 97 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
54 | Load 3402 household 1 | 98 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
55 | Load 3402 household 2 | 98 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
56 | Load 3581 household 1 | 99 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
57 | Load 3583 household 1 | 100 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
58 | Load 3585 household 1 | 101 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
59 | Load 3597 household 1 | 102 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
60 | Load 4200 household 1 | 103 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
61 | Load 4200 household 2 | 103 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
62 | Load 4241 household 1 | 104 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
63 | Load 4241 household 2 | 104 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
64 | Load 4277 household 1 | 105 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
65 | Load 4277 household 2 | 105 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
66 | Load 4281 household 1 | 106 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
67 | Load 4281 household 2 | 106 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
68 | Load 4407 household 1 | 107 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
69 | Load 4407 household 2 | 107 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
70 | Load 4714 household 1 | 108 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
71 | Load 4714 household 2 | 108 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
72 | Load 4805 household 1 | 109 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
73 | Load 4805 household 2 | 109 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
74 | Load 4819 household 1 | 110 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
75 | Load 4819 household 2 | 110 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
76 | Load 5012 household 1 | 111 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
77 | Load 5012 household 2 | 111 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
78 | Load 5012 household 3 | 111 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
79 | Load 5012 household 4 | 111 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
80 | Load 5012 household 5 | 111 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
81 | Load 5066 household 1 | 112 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
82 | Load 5066 household 2 | 112 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
83 | Load 5066 household 3 | 112 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
84 | Load 5066 household 4 | 112 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
85 | Load 5066 household 5 | 112 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
86 | Load 5082 household 1 | 113 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
87 | Load 5082 household 2 | 113 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
88 | Load 5082 household 3 | 113 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
89 | Load 5082 household 4 | 113 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
90 | Load 5082 household 5 | 113 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
91 | Load 5400 household 1 | 114 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
92 | Load 5400 household 2 | 114 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
93 | Load 5400 household 3 | 114 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
94 | Load 5400 household 4 | 114 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
95 | Load 5400 household 5 | 114 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
96 | Load 5400 household 6 | 114 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
97 | Load 5471 household 1 | 115 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
98 | Load 5471 household 2 | 115 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
99 | Load 5471 household 3 | 115 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
100 | Load 5471 household 4 | 115 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
101 | Load 5471 household 5 | 115 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
102 | Load 5471 household 6 | 115 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
103 | Load 5471 household 7 | 115 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
104 | Load 5491 household 1 | 116 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
105 | Load 5491 household 2 | 116 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
106 | Load 5491 household 3 | 116 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
107 | Load 5491 household 4 | 116 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
108 | Load 5491 household 5 | 116 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
109 | Load 5491 household 6 | 116 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
110 | Load 5491 household 7 | 116 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 | External grid | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | Line to 1895 | NYY 4x16 SE | 43 | 75 | 0.0099437 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
1 | Line to 1920 | NYY 4x16 SE | 58 | 76 | 0.034396 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
2 | Line to 3597 | NYY 4x16 SE | 53 | 102 | 0.039433 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
3 | Line to 4407 | NYY 4x16 SE | 5 | 107 | 0.016208 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
4 | Line to 1744 | NYY 4x16 SE | 4 | 61 | 0.0614 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
5 | Line to 1921 | NYY 4x35 SE | 53 | 58 | 0.031255 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
6 | Line to 3598 | NYY 4x35 SE | 43 | 53 | 0.053615 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
7 | Line to 1896 | NYY 4x35 SE | 5 | 43 | 0.1866 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
8 | Line to 4408 | NYY 4x35 SE | 4 | 5 | 0.0082459 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
9 | Line to 1745 | NYY 4x35 SE | 3 | 4 | 0.0031942 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
10 | Line to 5850 | NYY 4x35 SE | 2 | 3 | 0.0077774 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
11 | Line to 5849 | NYY 4x35 SE | 0 | 2 | 0 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
12 | Line to 5400 | NYY 4x16 SE | 31 | 114 | 0.015194 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
13 | Line to 3231 | NYY 4x16 SE | 46 | 87 | 0.033483 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
14 | Line to 3241 | NYY 4x16 SE | 20 | 91 | 0.02197 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
15 | Line to 3243 | NYY 4x16 SE | 16 | 92 | 0.010184 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
16 | Line to 3259 | NYY 4x16 SE | 57 | 94 | 0.035679 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
17 | Line to 3261 | NYY 4x16 SE | 50 | 95 | 0.016121 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
18 | Line to 3195 | NYY 4x16 SE | 48 | 82 | 0.025079 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
19 | Line to 3263 | NYY 4x16 SE | 45 | 96 | 0.019739 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
20 | Line to 3265 | NYY 4x16 SE | 41 | 97 | 0.017648 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
21 | Line to 3402 | NYY 4x16 SE | 54 | 98 | 0.018387 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
22 | Line to 3581 | NYY 4x16 SE | 9 | 99 | 0.028321 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
23 | Line to 3583 | NYY 4x16 SE | 10 | 100 | 0.055331 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
24 | Line to 3585 | NYY 4x16 SE | 10 | 101 | 0.052383 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
25 | Line to 5066 | NYY 4x16 SE | 6 | 112 | 0.031058 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
26 | Line to 4281 | NYY 4x16 SE | 11 | 106 | 0.024755 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
27 | Line to 1758 | NYY 4x16 SE | 13 | 66 | 0.025662 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
28 | Line to 1767 | NYY 4x16 SE | 7 | 70 | 0.021052 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
29 | Line to 3260 | NYY 4x70 SE | 54 | 57 | 0.0063136 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
30 | Line to 3403 | NYY 4x70 SE | 50 | 54 | 0.028586 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
31 | Line to 3262 | NYY 4x70 SE | 48 | 50 | 0.012527 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
32 | Line to 3196 | NYY 4x70 SE | 46 | 48 | 0.014758 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
33 | Line to 3232 | NYY 4x70 SE | 45 | 46 | 0.00013405 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
34 | Line to 3264 | NYY 4x70 SE | 41 | 45 | 0.013106 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
35 | Line to 3266 | NYY 4x70 SE | 31 | 41 | 0.028131 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
36 | Line to 5401 | NYY 4x70 SE | 20 | 31 | 0.031886 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
37 | Line to 3242 | NYY 4x70 SE | 16 | 20 | 0.011799 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
38 | Line to 3244 | NYY 4x70 SE | 13 | 16 | 0.012196 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
39 | Line to 1759 | NYY 4x70 SE | 11 | 13 | 0.021264 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
40 | Line to 4282 | NYY 4x70 SE | 10 | 11 | 0.012551 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
41 | Line to 3584 | NYY 4x70 SE | 9 | 10 | 0.02039 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
42 | Line to 3582 | NYY 4x70 SE | 7 | 9 | 0.01649 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
43 | Line to 1768 | NYY 4x70 SE | 6 | 7 | 0.0079438 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
44 | Line to 5067 | NYY 4x70 SE | 0 | 6 | 0.036867 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
45 | Line to 3255 | NYY 4x16 SE | 56 | 93 | 0.033285 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
46 | Line to 1756 | NYY 4x16 SE | 44 | 65 | 0.012771 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
47 | Line to 1762 | NYY 4x16 SE | 38 | 68 | 0.022259 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
48 | Line to 1765 | NYY 4x16 SE | 30 | 69 | 0.021255 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
49 | Line to 1769 | NYY 4x16 SE | 52 | 71 | 0.025351 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
50 | Line to 1771 | NYY 4x16 SE | 49 | 72 | 0.01997 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
51 | Line to 1773 | NYY 4x16 SE | 34 | 73 | 0.013341 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
52 | Line to 3256 | NYY 4x35 SE | 52 | 56 | 0.013194 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
53 | Line to 1770 | NYY 4x35 SE | 49 | 52 | 0.025817 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
54 | Line to 1772 | NYY 4x35 SE | 44 | 49 | 0.022428 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
55 | Line to 1757 | NYY 4x35 SE | 38 | 44 | 0.014518 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
56 | Line to 1763 | NYY 4x35 SE | 34 | 38 | 0.012992 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
57 | Line to 1774 | NYY 4x35 SE | 30 | 34 | 0.012736 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
58 | Line to 1766 | NYY 4x35 SE | 0 | 30 | 0.16932 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
59 | Line to 4819 | NYY 4x16 SE | 32 | 110 | 0.012633 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
60 | Line to 3201 | NYY 4x16 SE | 55 | 86 | 0.02743 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
61 | Line to 3202 | NYY 4x35 SE | 32 | 55 | 0.089948 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
62 | Line to 4820 | NYY 4x35 SE | 0 | 32 | 0.17893 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
63 | Line to 2114 | NYY 4x16 SE | 51 | 77 | 0.017835 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
64 | Line to 3199 | NYY 4x16 SE | 42 | 85 | 0.024917 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
65 | Line to 1472 | NYY 4x16 SE | 42 | 51 | 0.040472 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
66 | Line to 3200 | NYY 4x16 SE | 0 | 42 | 0.20503 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
67 | Line to 1813 | NYY 4x16 SE | 47 | 74 | 0.039869 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
68 | Line to 5012 | NYY 4x16 SE | 39 | 111 | 0.042163 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
69 | Line to 1814 | NYY 4x35 SE | 39 | 47 | 0.028162 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
70 | Line to 5013 | NYY 4x35 SE | 0 | 39 | 0.19591 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
71 | Line to 2116 | NYY 4x16 SE | 22 | 78 | 0.0073855 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
72 | Line to 2131 | NYY 4x16 SE | 26 | 79 | 0.015445 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
73 | Line to 3235 | NYY 4x16 SE | 40 | 88 | 0.026556 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
74 | Line to 3237 | NYY 4x16 SE | 37 | 89 | 0.014974 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
75 | Line to 3239 | NYY 4x16 SE | 36 | 90 | 0.017976 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
76 | Line to 1760 | NYY 4x16 SE | 25 | 67 | 0.014175 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
77 | Line to 283 | NYY 4x16 SE | 15 | 59 | 0.01433 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
78 | Line to 3236 | NYY 4x35 SE | 37 | 40 | 0.0088987 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
79 | Line to 3238 | NYY 4x35 SE | 36 | 37 | 0.0047642 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
80 | Line to 3240 | NYY 4x35 SE | 26 | 36 | 0.024239 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
81 | Line to 2132 | NYY 4x35 SE | 25 | 26 | 0.0041184 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
82 | Line to 1761 | NYY 4x35 SE | 22 | 25 | 0.010348 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
83 | Line to 2117 | NYY 4x35 SE | 15 | 22 | 0.022169 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
84 | Line to 284 | NYY 4x35 SE | 0 | 15 | 0.12454 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
85 | Line to 3197 | NYY 4x16 SE | 35 | 83 | 0.012704 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
86 | Line to 3198 | NYY 4x16 SE | 35 | 84 | 0.058038 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
87 | Line to 1287 | NYY 4x16 SE | 0 | 35 | 0.18262 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
88 | Line to 783 | NYY 4x16 SE | 29 | 60 | 0.013252 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
89 | Line to 1753 | NYY 4x16 SE | 33 | 64 | 0.026864 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
90 | Line to 4714 | NYY 4x16 SE | 19 | 108 | 0.018117 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
91 | Line to 1754 | NYY 4x16 SE | 29 | 33 | 0.017975 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
92 | Line to 784 | NYY 4x16 SE | 19 | 29 | 0.025328 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
93 | Line to 4715 | NYY 4x16 SE | 0 | 19 | 0.13753 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
94 | Line to 1747 | NYY 4x16 SE | 24 | 62 | 0.0093777 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
95 | Line to 4805 | NYY 4x16 SE | 28 | 109 | 0.048783 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
96 | Line to 4200 | NYY 4x16 SE | 18 | 103 | 0.011952 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
97 | Line to 1752 | NYY 4x16 SE | 28 | 63 | 0.028135 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
98 | Line to 5082 | NYY 4x16 SE | 21 | 113 | 0.039584 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
99 | Line to 1749 | NYY 4x35 SE | 24 | 28 | 0.0097197 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
100 | Line to 1748 | NYY 4x35 SE | 21 | 24 | 0.011591 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
101 | Line to 5083 | NYY 4x35 SE | 18 | 21 | 0.0084104 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
102 | Line to 4201 | NYY 4x35 SE | 0 | 18 | 0.13307 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
103 | Line to 4241 | NYY 4x16 SE | 23 | 104 | 0.013185 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
104 | Line to 2135 | NYY 4x16 SE | 14 | 80 | 0.075078 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
105 | Line to 3193 | NYY 4x16 SE | 27 | 81 | 0.014666 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
106 | Line to 5471 | NYY 4x16 SE | 12 | 115 | 0.022122 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
107 | Line to 5491 | NYY 4x16 SE | 17 | 116 | 0.015872 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
108 | Line to 3194 | NYY 4x35 SE | 23 | 27 | 0.010972 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
109 | Line to 4242 | NYY 4x35 SE | 17 | 23 | 0.020308 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
110 | Line to 5492 | NYY 4x35 SE | 14 | 17 | 0.010815 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
111 | Line to 2136 | NYY 4x35 SE | 12 | 14 | 0.020629 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
112 | Line to 5472 | NYY 4x35 SE | 0 | 12 | 0.098694 | 0.524 | 0.085 | 0 | 0 | 0.159 | 1 | 1 |  | TRUE
113 | Line to 4277 | NYY 4x16 SE | 8 | 105 | 0.018109 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
114 | Line to 4278 | NYY 4x16 SE | 0 | 8 | 0.058072 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | 400 transformer | 0.4 MVA 20/0.4 kV | 1 | 0 | 0.4 | 20 | 0.4 | 6 | 1.425 | 1.35 | 0.3375 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 11.1925 | 48.0356 | 11.1924 | 48.0356
1 | 11.1933 | 48.0362 | 11.1929 | 48.0364
2 | 11.193 | 48.0359 | 11.1926 | 48.0362
3 | 11.1919 | 48.0347 | 11.192 | 48.0346
4 | 11.192 | 48.0347 | 11.1924 | 48.0342
5 | 11.193 | 48.0359 | 11.1931 | 48.036 | 11.1933 | 48.0362
6 | 11.1925 | 48.0356 | 11.193 | 48.0359
7 | 11.1919 | 48.0347 | 11.1917 | 48.0346 | 11.1913 | 48.0347 | 11.1925 | 48.0356
8 | 11.192 | 48.0347 | 11.1919 | 48.0347
9 | 11.1921 | 48.0347 | 11.192 | 48.0347
10 | 11.192 | 48.0348 | 11.1921 | 48.0347
11 | 11.192 | 48.0348 | 11.192 | 48.0348
12 | 11.194 | 48.0355 | 11.1941 | 48.0354
13 | 11.1943 | 48.0357 | 11.194 | 48.0359
14 | 11.1936 | 48.0353 | 11.1938 | 48.0351
15 | 11.1935 | 48.0352 | 11.1936 | 48.0351
16 | 11.1948 | 48.0362 | 11.1944 | 48.0363
17 | 11.1946 | 48.0359 | 11.1947 | 48.0358
18 | 11.1944 | 48.0358 | 11.1947 | 48.0357
19 | 11.1943 | 48.0357 | 11.1945 | 48.0356
20 | 11.1942 | 48.0356 | 11.1944 | 48.0355
21 | 11.1948 | 48.0361 | 11.195 | 48.0361
22 | 11.1927 | 48.0349 | 11.1929 | 48.0347
23 | 11.193 | 48.035 | 11.1932 | 48.0345
24 | 11.193 | 48.035 | 11.1933 | 48.0345
25 | 11.1924 | 48.0348 | 11.1926 | 48.0346
26 | 11.1932 | 48.035 | 11.1933 | 48.0348
27 | 11.1934 | 48.0351 | 11.1936 | 48.0349
28 | 11.1925 | 48.0349 | 11.1924 | 48.035
29 | 11.1948 | 48.0361 | 11.1948 | 48.0362
30 | 11.1946 | 48.0359 | 11.1948 | 48.0361
31 | 11.1944 | 48.0358 | 11.1946 | 48.0359
32 | 11.1943 | 48.0357 | 11.1944 | 48.0358
33 | 11.1943 | 48.0357 | 11.1943 | 48.0357
34 | 11.1942 | 48.0356 | 11.1943 | 48.0357
35 | 11.194 | 48.0355 | 11.1942 | 48.0356
36 | 11.1936 | 48.0353 | 11.194 | 48.0355
37 | 11.1935 | 48.0352 | 11.1936 | 48.0353
38 | 11.1934 | 48.0351 | 11.1935 | 48.0352
39 | 11.1932 | 48.035 | 11.1934 | 48.0351
40 | 11.193 | 48.035 | 11.1931 | 48.035 | 11.1932 | 48.035
41 | 11.1927 | 48.0349 | 11.193 | 48.035
42 | 11.1925 | 48.0349 | 11.1927 | 48.0349
43 | 11.1924 | 48.0348 | 11.1925 | 48.0349
44 | 11.192 | 48.0348 | 11.192 | 48.0348 | 11.1921 | 48.0347 | 11.1924 | 48.0348
45 | 11.1905 | 48.0358 | 11.191 | 48.0359
46 | 11.19 | 48.0354 | 11.1899 | 48.0354
47 | 11.19 | 48.0353 | 11.1897 | 48.0353
48 | 11.1901 | 48.0351 | 11.1899 | 48.0349
49 | 11.1905 | 48.0357 | 11.1908 | 48.0356
50 | 11.1903 | 48.0355 | 11.1904 | 48.0354
51 | 11.19 | 48.0352 | 11.1902 | 48.0352
52 | 11.1905 | 48.0357 | 11.1905 | 48.0358
53 | 11.1903 | 48.0355 | 11.1905 | 48.0357
54 | 11.19 | 48.0354 | 11.1903 | 48.0355
55 | 11.19 | 48.0353 | 11.19 | 48.0354
56 | 11.19 | 48.0352 | 11.19 | 48.0353
57 | 11.1901 | 48.0351 | 11.19 | 48.0352
58 | 11.192 | 48.0348 | 11.192 | 48.0348 | 11.1921 | 48.0347 | 11.192 | 48.0347 | 11.1919 | 48.0347 | 11.1917 | 48.0346 | 11.1913 | 48.0347 | 11.1907 | 48.0348 | 11.1904 | 48.0349 | 11.1901 | 48.0351
59 | 11.1905 | 48.0337 | 11.1906 | 48.0336
60 | 11.1897 | 48.0331 | 11.1899 | 48.0329
61 | 11.1905 | 48.0337 | 11.19 | 48.0333 | 11.1897 | 48.0331
62 | 11.192 | 48.0348 | 11.192 | 48.0348 | 11.1921 | 48.0347 | 11.192 | 48.0347 | 11.1919 | 48.0347 | 11.1917 | 48.0346 | 11.1914 | 48.0343 | 11.1905 | 48.0337
63 | 11.1901 | 48.0333 | 11.1901 | 48.0331
64 | 11.1902 | 48.0335 | 11.1905 | 48.0333
65 | 11.1902 | 48.0335 | 11.19 | 48.0333 | 11.1901 | 48.0333
66 | 11.1921 | 48.0348 | 11.1921 | 48.0348 | 11.1921 | 48.0347 | 11.1921 | 48.0347 | 11.192 | 48.0347 | 11.1918 | 48.0346 | 11.1914 | 48.0344 | 11.1902 | 48.0335
67 | 11.1927 | 48.0357 | 11.1923 | 48.0359
68 | 11.1925 | 48.0355 | 11.192 | 48.0358
69 | 11.1925 | 48.0355 | 11.1927 | 48.0357
70 | 11.1921 | 48.0348 | 11.1921 | 48.0348 | 11.1921 | 48.0347 | 11.1921 | 48.0347 | 11.192 | 48.0347 | 11.1918 | 48.0346 | 11.1913 | 48.0347 | 11.1925 | 48.0355
71 | 11.1931 | 48.0354 | 11.1929 | 48.0354
72 | 11.1932 | 48.0355 | 11.193 | 48.0356
73 | 11.1935 | 48.0358 | 11.1938 | 48.0357
74 | 11.1934 | 48.0357 | 11.1932 | 48.0358
75 | 11.1934 | 48.0357 | 11.1935 | 48.0356
76 | 11.1931 | 48.0355 | 11.1933 | 48.0354
77 | 11.1929 | 48.0353 | 11.1927 | 48.0352
78 | 11.1934 | 48.0357 | 11.1935 | 48.0358
79 | 11.1934 | 48.0357 | 11.1934 | 48.0357
80 | 11.1932 | 48.0355 | 11.1934 | 48.0357
81 | 11.1931 | 48.0355 | 11.1932 | 48.0355
82 | 11.1931 | 48.0354 | 11.1931 | 48.0355
83 | 11.1929 | 48.0353 | 11.1931 | 48.0354
84 | 11.1921 | 48.0348 | 11.1921 | 48.0348 | 11.1921 | 48.0348 | 11.1925 | 48.0349 | 11.1926 | 48.0349 | 11.1928 | 48.0349 | 11.193 | 48.035 | 11.1931 | 48.035 | 11.1929 | 48.0353
85 | 11.1909 | 48.0335 | 11.191 | 48.0334
86 | 11.1909 | 48.0335 | 11.1911 | 48.033
87 | 11.1921 | 48.0348 | 11.1921 | 48.0348 | 11.1921 | 48.0348 | 11.1921 | 48.0347 | 11.192 | 48.0347 | 11.1918 | 48.0346 | 11.1914 | 48.0344 | 11.1909 | 48.0335
88 | 11.1904 | 48.0345 | 11.1905 | 48.0344
89 | 11.1902 | 48.0345 | 11.19 | 48.0343
90 | 11.1906 | 48.0347 | 11.1908 | 48.0346
91 | 11.1904 | 48.0345 | 11.1902 | 48.0345
92 | 11.1906 | 48.0347 | 11.1906 | 48.0347 | 11.1904 | 48.0345
93 | 11.1921 | 48.0348 | 11.1921 | 48.0348 | 11.1921 | 48.0348 | 11.1921 | 48.0348 | 11.192 | 48.0347 | 11.1918 | 48.0347 | 11.1913 | 48.0347 | 11.1908 | 48.0349 | 11.1906 | 48.0347
94 | 11.1912 | 48.0351 | 11.1912 | 48.035
95 | 11.1912 | 48.0352 | 11.1915 | 48.0355
96 | 11.1909 | 48.035 | 11.1908 | 48.035
97 | 11.1912 | 48.0352 | 11.1911 | 48.0354
98 | 11.191 | 48.035 | 11.1907 | 48.0352
99 | 11.1912 | 48.0351 | 11.1912 | 48.0352
100 | 11.191 | 48.035 | 11.1912 | 48.0351
101 | 11.1909 | 48.035 | 11.191 | 48.035
102 | 11.1921 | 48.0348 | 11.1921 | 48.0348 | 11.1921 | 48.0348 | 11.1921 | 48.0348 | 11.192 | 48.0347 | 11.1918 | 48.0347 | 11.1913 | 48.0347 | 11.1908 | 48.0349 | 11.1909 | 48.035
103 | 11.191 | 48.0338 | 11.1908 | 48.0338
104 | 11.1912 | 48.034 | 11.192 | 48.0337
105 | 11.191 | 48.0337 | 11.1912 | 48.0336
106 | 11.1913 | 48.0342 | 11.1916 | 48.0341
107 | 11.1911 | 48.034 | 11.1913 | 48.0338
108 | 11.191 | 48.0338 | 11.191 | 48.0337
109 | 11.1911 | 48.034 | 11.191 | 48.0338
110 | 11.1912 | 48.034 | 11.1911 | 48.034
111 | 11.1913 | 48.0342 | 11.1912 | 48.034
112 | 11.1921 | 48.0348 | 11.1921 | 48.0348 | 11.1921 | 48.0348 | 11.1921 | 48.0348 | 11.192 | 48.0347 | 11.1918 | 48.0347 | 11.1914 | 48.0344 | 11.1913 | 48.0342
113 | 11.1916 | 48.0345 | 11.1917 | 48.0344
114 | 11.1921 | 48.0348 | 11.1921 | 48.0348 | 11.1921 | 48.0348 | 11.1921 | 48.0348 | 11.192 | 48.0347 | 11.1918 | 48.0347 | 11.1916 | 48.0345

## bus_geodata
| x | y | coords
0 | 11.192 | 48.0348
1 | 11.192 | 48.0349
2 | 11.192 | 48.0348
3 | 11.1921 | 48.0347
4 | 11.192 | 48.0347
5 | 11.1919 | 48.0347
6 | 11.1924 | 48.0348
7 | 11.1925 | 48.0349
8 | 11.1916 | 48.0345
9 | 11.1927 | 48.0349
10 | 11.193 | 48.035
11 | 11.1932 | 48.035
12 | 11.1913 | 48.0342
13 | 11.1934 | 48.0351
14 | 11.1912 | 48.034
15 | 11.1929 | 48.0353
16 | 11.1935 | 48.0352
17 | 11.1911 | 48.034
18 | 11.1909 | 48.035
19 | 11.1906 | 48.0347
20 | 11.1936 | 48.0353
21 | 11.191 | 48.035
22 | 11.1931 | 48.0354
23 | 11.191 | 48.0338
24 | 11.1912 | 48.0351
25 | 11.1931 | 48.0355
26 | 11.1932 | 48.0355
27 | 11.191 | 48.0337
28 | 11.1912 | 48.0352
29 | 11.1904 | 48.0345
30 | 11.1901 | 48.0351
31 | 11.194 | 48.0355
32 | 11.1905 | 48.0337
33 | 11.1902 | 48.0345
34 | 11.19 | 48.0352
35 | 11.1909 | 48.0335
36 | 11.1934 | 48.0357
37 | 11.1934 | 48.0357
38 | 11.19 | 48.0353
39 | 11.1925 | 48.0355
40 | 11.1935 | 48.0358
41 | 11.1942 | 48.0356
42 | 11.1902 | 48.0335
43 | 11.1925 | 48.0356
44 | 11.19 | 48.0354
45 | 11.1943 | 48.0357
46 | 11.1943 | 48.0357
47 | 11.1927 | 48.0357
48 | 11.1944 | 48.0358
49 | 11.1903 | 48.0355
50 | 11.1946 | 48.0359
51 | 11.1901 | 48.0333
52 | 11.1905 | 48.0357
53 | 11.193 | 48.0359
54 | 11.1948 | 48.0361
55 | 11.1897 | 48.0331
56 | 11.1905 | 48.0358
57 | 11.1948 | 48.0362
58 | 11.1933 | 48.0362
59 | 11.1927 | 48.0352
60 | 11.1905 | 48.0344
61 | 11.1924 | 48.0342
62 | 11.1912 | 48.035
63 | 11.1911 | 48.0354
64 | 11.19 | 48.0343
65 | 11.1899 | 48.0354
66 | 11.1936 | 48.0349
67 | 11.1933 | 48.0354
68 | 11.1897 | 48.0353
69 | 11.1899 | 48.0349
70 | 11.1924 | 48.035
71 | 11.1908 | 48.0356
72 | 11.1904 | 48.0354
73 | 11.1902 | 48.0352
74 | 11.1923 | 48.0359
75 | 11.1924 | 48.0356
76 | 11.1929 | 48.0364
77 | 11.1901 | 48.0331
78 | 11.1929 | 48.0354
79 | 11.193 | 48.0356
80 | 11.192 | 48.0337
81 | 11.1912 | 48.0336
82 | 11.1947 | 48.0357
83 | 11.191 | 48.0334
84 | 11.1911 | 48.033
85 | 11.1905 | 48.0333
86 | 11.1899 | 48.0329
87 | 11.194 | 48.0359
88 | 11.1938 | 48.0357
89 | 11.1932 | 48.0358
90 | 11.1935 | 48.0356
91 | 11.1938 | 48.0351
92 | 11.1936 | 48.0351
93 | 11.191 | 48.0359
94 | 11.1944 | 48.0363
95 | 11.1947 | 48.0358
96 | 11.1945 | 48.0356
97 | 11.1944 | 48.0355
98 | 11.195 | 48.0361
99 | 11.1929 | 48.0347
100 | 11.1932 | 48.0345
101 | 11.1933 | 48.0345
102 | 11.1926 | 48.0362
103 | 11.1908 | 48.035
104 | 11.1908 | 48.0338
105 | 11.1917 | 48.0344
106 | 11.1933 | 48.0348
107 | 11.192 | 48.0346
108 | 11.1908 | 48.0346
109 | 11.1915 | 48.0355
110 | 11.1906 | 48.0336
111 | 11.192 | 48.0358
112 | 11.1926 | 48.0346
113 | 11.1907 | 48.0352
114 | 11.1941 | 48.0354
115 | 11.1916 | 48.0341
116 | 11.1913 | 48.0338

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403
NYY 4x16 SE | 0 | 1.15 | 0.09 | 0.103 |  | 16
NYY 4x35 SE | 0 | 0.524 | 0.085 | 0.159 |  | 35
NAYY 4x185 SE | 0 | 0.164 | 0.08 | 0.313 |  | 185
NAYY 4x95 SE | 0 | 0.32 | 0.082 | 0.215 |  | 95
NYY 4x70 SE | 0 | 0.268 | 0.082 | 0.232 |  | 70
NYY 4x95 SE | 0 | 0.193 | 0.082 | 0.28 |  | 95

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | bus | min_vm_pu | float64
6 | bus | max_vm_pu | float64
7 | load | name | object
8 | load | bus | uint32
9 | load | p_mw | float64
10 | load | q_mvar | float64
11 | load | const_z_percent | float64
12 | load | const_i_percent | float64
13 | load | sn_mva | float64
14 | load | scaling | float64
15 | load | in_service | bool
16 | load | type | object
17 | load | max_p_mw | float64
18 | ext_grid | name | object
19 | ext_grid | bus | uint32
20 | ext_grid | vm_pu | float64
21 | ext_grid | va_degree | float64
22 | ext_grid | slack_weight | float64
23 | ext_grid | in_service | bool
24 | line | name | object
25 | line | std_type | object
26 | line | from_bus | uint32
27 | line | to_bus | uint32
28 | line | length_km | float64
29 | line | r_ohm_per_km | float64
30 | line | x_ohm_per_km | float64
31 | line | c_nf_per_km | float64
32 | line | g_us_per_km | float64
33 | line | max_i_ka | float64
34 | line | df | float64
35 | line | parallel | uint32
36 | line | type | object
37 | line | in_service | bool
38 | trafo | name | object
39 | trafo | std_type | object
40 | trafo | hv_bus | uint32
41 | trafo | lv_bus | uint32
42 | trafo | sn_mva | float64
43 | trafo | vn_hv_kv | float64
44 | trafo | vn_lv_kv | float64
45 | trafo | vk_percent | float64
46 | trafo | vkr_percent | float64
47 | trafo | pfe_kw | float64
48 | trafo | i0_percent | float64
49 | trafo | shift_degree | float64
50 | trafo | tap_side | object
51 | trafo | tap_neutral | int32
52 | trafo | tap_min | int32
53 | trafo | tap_max | int32
54 | trafo | tap_step_percent | float64
55 | trafo | tap_step_degree | float64
56 | trafo | tap_pos | int32
57 | trafo | tap_phase_shifter | bool
58 | trafo | parallel | uint32
59 | trafo | df | float64
60 | trafo | in_service | bool
61 | line_geodata | coords | object
62 | bus_geodata | x | float64
63 | bus_geodata | y | float64
64 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.12.1 | 2.12.0 | FALSE | FALSE |  | 50 | 1