## bus
| name | vn_kv | type | zone | in_service | min_vm_pu | max_vm_pu
0 | LVbus 1 | 0.4 | n |  | TRUE | 0.95 | 1.05
1 | MVbus 1 | 20 | n |  | TRUE | 0.95 | 1.05
2 | Connection Nodebus 5051 | 0.4 | n |  | TRUE | 0.95 | 1.05
3 | Connection Nodebus 3788 | 0.4 | n |  | TRUE | 0.95 | 1.05
4 | Connection Nodebus 3110 | 0.4 | n |  | TRUE | 0.95 | 1.05
5 | Connection Nodebus 3606 | 0.4 | n |  | TRUE | 0.95 | 1.05
6 | Connection Nodebus 2068 | 0.4 | n |  | TRUE | 0.95 | 1.05
7 | Connection Nodebus 5266 | 0.4 | n |  | TRUE | 0.95 | 1.05
8 | Connection Nodebus 2072 | 0.4 | n |  | TRUE | 0.95 | 1.05
9 | Connection Nodebus 2073 | 0.4 | n |  | TRUE | 0.95 | 1.05
10 | Connection Nodebus 3118 | 0.4 | n |  | TRUE | 0.95 | 1.05
11 | Connection Nodebus 3116 | 0.4 | n |  | TRUE | 0.95 | 1.05
12 | Connection Nodebus 1195 | 0.4 | n |  | TRUE | 0.95 | 1.05
13 | Connection Nodebus 2085 | 0.4 | n |  | TRUE | 0.95 | 1.05
14 | Connection Nodebus 2087 | 0.4 | n |  | TRUE | 0.95 | 1.05
15 | Connection Nodebus 2075 | 0.4 | n |  | TRUE | 0.95 | 1.05
16 | Connection Nodebus 4220 | 0.4 | n |  | TRUE | 0.95 | 1.05
17 | Connection Nodebus 4254 | 0.4 | n |  | TRUE | 0.95 | 1.05
18 | Connection Nodebus 5181 | 0.4 | n |  | TRUE | 0.95 | 1.05
19 | Connection Nodebus 3105 | 0.4 | n |  | TRUE | 0.95 | 1.05
20 | Connection Nodebus 1544 | 0.4 | n |  | TRUE | 0.95 | 1.05
21 | Connection Nodebus 3453 | 0.4 | n |  | TRUE | 0.95 | 1.05
22 | Connection Nodebus 3809 | 0.4 | n |  | TRUE | 0.95 | 1.05
23 | Connection Nodebus 3108 | 0.4 | n |  | TRUE | 0.95 | 1.05
24 | Connection Nodebus 5253 | 0.4 | n |  | TRUE | 0.95 | 1.05
25 | Connection Nodebus 2642 | 0.4 | n |  | TRUE | 0.95 | 1.05
26 | Connection Nodebus 2697 | 0.4 | n |  | TRUE | 0.95 | 1.05
27 | Connection Nodebus 2643 | 0.4 | n |  | TRUE | 0.95 | 1.05
28 | Connection Nodebus 1303 | 0.4 | n |  | TRUE | 0.95 | 1.05
29 | Connection Nodebus 4946 | 0.4 | n |  | TRUE | 0.95 | 1.05
30 | Connection Nodebus 4941 | 0.4 | n |  | TRUE | 0.95 | 1.05
31 | Consumer Nodebus 1542 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
32 | Consumer Nodebus 1543 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
33 | Consumer Nodebus 2067 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
34 | Consumer Nodebus 2071 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
35 | Consumer Nodebus 2074 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
36 | Consumer Nodebus 2084 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
37 | Consumer Nodebus 2086 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
38 | Consumer Nodebus 2694 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
39 | Consumer Nodebus 2695 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
40 | Consumer Nodebus 2696 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
41 | Consumer Nodebus 2699 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
42 | Consumer Nodebus 3103 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
43 | Consumer Nodebus 3104 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
44 | Consumer Nodebus 3107 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
45 | Consumer Nodebus 3109 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
46 | Consumer Nodebus 3115 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
47 | Consumer Nodebus 3117 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
48 | Consumer Nodebus 3452 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
49 | Consumer Nodebus 3605 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
50 | Consumer Nodebus 3778 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
51 | Consumer Nodebus 3787 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
52 | Consumer Nodebus 3808 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
53 | Consumer Nodebus 4219 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
54 | Consumer Nodebus 4253 | 0.4 | n | SFH | TRUE | 0.95 | 1.05
55 | Consumer Nodebus 4940 | 0.4 | n | MFH | TRUE | 0.95 | 1.05
56 | Consumer Nodebus 4945 | 0.4 | n | MFH | TRUE | 0.95 | 1.05
57 | Consumer Nodebus 5050 | 0.4 | n | MFH | TRUE | 0.95 | 1.05
58 | Consumer Nodebus 5180 | 0.4 | n | MFH | TRUE | 0.95 | 1.05
59 | Consumer Nodebus 5252 | 0.4 | n | MFH | TRUE | 0.95 | 1.05
60 | Consumer Nodebus 5265 | 0.4 | n | MFH | TRUE | 0.95 | 1.05

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type | max_p_mw
0 | Load 1542 household 1 | 31 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
1 | Load 1542 household 2 | 31 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
2 | Load 1543 household 1 | 32 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
3 | Load 2067 household 1 | 33 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
4 | Load 2067 household 2 | 33 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
5 | Load 2071 household 1 | 34 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
6 | Load 2071 household 2 | 34 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
7 | Load 2074 household 1 | 35 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
8 | Load 2084 household 1 | 36 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
9 | Load 2086 household 1 | 37 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
10 | Load 2694 household 1 | 38 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
11 | Load 2694 household 2 | 38 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
12 | Load 2695 household 1 | 39 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
13 | Load 2695 household 2 | 39 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
14 | Load 2696 household 1 | 40 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
15 | Load 2696 household 2 | 40 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
16 | Load 2699 household 1 | 41 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
17 | Load 3103 household 1 | 42 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
18 | Load 3104 household 1 | 43 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
19 | Load 3107 household 1 | 44 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
20 | Load 3109 household 1 | 45 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
21 | Load 3115 household 1 | 46 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
22 | Load 3117 household 1 | 47 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
23 | Load 3452 household 1 | 48 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
24 | Load 3605 household 1 | 49 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
25 | Load 3605 household 2 | 49 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
26 | Load 3778 household 1 | 50 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
27 | Load 3778 household 2 | 50 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
28 | Load 3787 household 1 | 51 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
29 | Load 3787 household 2 | 51 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
30 | Load 3808 household 1 | 52 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
31 | Load 3808 household 2 | 52 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
32 | Load 4219 household 1 | 53 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
33 | Load 4219 household 2 | 53 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
34 | Load 4253 household 1 | 54 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
35 | Load 4253 household 2 | 54 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
36 | Load 4940 household 1 | 55 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
37 | Load 4940 household 2 | 55 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
38 | Load 4940 household 3 | 55 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
39 | Load 4940 household 4 | 55 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
40 | Load 4940 household 5 | 55 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
41 | Load 4940 household 6 | 55 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
42 | Load 4945 household 1 | 56 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
43 | Load 4945 household 2 | 56 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
44 | Load 5050 household 1 | 57 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
45 | Load 5050 household 2 | 57 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
46 | Load 5050 household 3 | 57 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
47 | Load 5050 household 4 | 57 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
48 | Load 5050 household 5 | 57 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
49 | Load 5050 household 6 | 57 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
50 | Load 5050 household 7 | 57 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
51 | Load 5050 household 8 | 57 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
52 | Load 5050 household 9 | 57 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
53 | Load 5180 household 1 | 58 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
54 | Load 5180 household 2 | 58 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
55 | Load 5180 household 3 | 58 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
56 | Load 5180 household 4 | 58 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
57 | Load 5180 household 5 | 58 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
58 | Load 5180 household 6 | 58 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
59 | Load 5180 household 7 | 58 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
60 | Load 5180 household 8 | 58 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
61 | Load 5180 household 9 | 58 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
62 | Load 5180 household 10 | 58 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
63 | Load 5180 household 11 | 58 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
64 | Load 5180 household 12 | 58 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
65 | Load 5252 household 1 | 59 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
66 | Load 5252 household 2 | 59 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
67 | Load 5252 household 3 | 59 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
68 | Load 5252 household 4 | 59 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
69 | Load 5252 household 5 | 59 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
70 | Load 5252 household 6 | 59 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
71 | Load 5252 household 7 | 59 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
72 | Load 5252 household 8 | 59 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
73 | Load 5252 household 9 | 59 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
74 | Load 5252 household 10 | 59 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
75 | Load 5252 household 11 | 59 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
76 | Load 5252 household 12 | 59 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
77 | Load 5252 household 13 | 59 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
78 | Load 5252 household 14 | 59 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
79 | Load 5252 household 15 | 59 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
80 | Load 5252 household 16 | 59 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
81 | Load 5265 household 1 | 60 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
82 | Load 5265 household 2 | 60 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
83 | Load 5265 household 3 | 60 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
84 | Load 5265 household 4 | 60 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
85 | Load 5265 household 5 | 60 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
86 | Load 5265 household 6 | 60 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
87 | Load 5265 household 7 | 60 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
88 | Load 5265 household 8 | 60 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
89 | Load 5265 household 9 | 60 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
90 | Load 5265 household 10 | 60 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
91 | Load 5265 household 11 | 60 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
92 | Load 5265 household 12 | 60 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
93 | Load 5265 household 13 | 60 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
94 | Load 5265 household 14 | 60 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
95 | Load 5265 household 15 | 60 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
96 | Load 5265 household 16 | 60 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
97 | Load 5265 household 17 | 60 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
98 | Load 5265 household 18 | 60 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03
99 | Load 5265 household 19 | 60 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | 0.03

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 | External grid | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | Line to 2694 | NYY 4x16 SE | 27 | 38 | 0.0084414 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
1 | Line to 2695 | NYY 4x16 SE | 25 | 39 | 0.0089373 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
2 | Line to 4940 | NYY 4x16 SE | 30 | 55 | 0.0099121 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
3 | Line to 4945 | NYY 4x16 SE | 29 | 56 | 0.019185 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
4 | Line to 5050 | NYY 4x16 SE | 2 | 57 | 0.028246 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
5 | Line to 5252 | NYY 4x16 SE | 24 | 59 | 0.024774 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
6 | Line to 4941 | NAYY 4x185 SE | 29 | 30 | 0.001323 | 0.164 | 0.08 | 0 | 0 | 0.313 | 1 | 3 |  | TRUE
7 | Line to 4946 | NAYY 4x185 SE | 27 | 29 | 0.0655 | 0.164 | 0.08 | 0 | 0 | 0.313 | 1 | 3 |  | TRUE
8 | Line to 2643 | NAYY 4x185 SE | 25 | 27 | 0.02969 | 0.164 | 0.08 | 0 | 0 | 0.313 | 1 | 3 |  | TRUE
9 | Line to 2642 | NAYY 4x185 SE | 24 | 25 | 0.040989 | 0.164 | 0.08 | 0 | 0 | 0.313 | 1 | 3 |  | TRUE
10 | Line to 5253 | NAYY 4x185 SE | 2 | 24 | 1.0523 | 0.164 | 0.08 | 0 | 0 | 0.313 | 1 | 3 |  | TRUE
11 | Line to 5051 | NAYY 4x185 SE | 0 | 2 | 0 | 0.164 | 0.08 | 0 | 0 | 0.313 | 1 | 3 |  | TRUE
12 | Line to 2699 | NYY 4x16 SE | 28 | 41 | 0.013264 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
13 | Line to 3778 | NYY 4x16 SE | 28 | 50 | 0.020149 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
14 | Line to 1303 | NYY 4x95 SE | 0 | 28 | 1.1562 | 0.193 | 0.082 | 0 | 0 | 0.28 | 1 | 1 |  | TRUE
15 | Line to 2696 | NYY 4x16 SE | 26 | 40 | 0.017765 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
16 | Line to 2697 | NYY 4x70 SE | 0 | 26 | 1.0936 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
17 | Line to 3107 | NYY 4x16 SE | 23 | 44 | 0.028202 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
18 | Line to 3808 | NYY 4x16 SE | 22 | 52 | 0.10773 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
19 | Line to 3108 | NYY 4x95 SE | 22 | 23 | 0.0023742 | 0.193 | 0.082 | 0 | 0 | 0.28 | 1 | 1 |  | TRUE
20 | Line to 3809 | NYY 4x95 SE | 0 | 22 | 1.011 | 0.193 | 0.082 | 0 | 0 | 0.28 | 1 | 1 |  | TRUE
21 | Line to 3452 | NYY 4x16 SE | 21 | 48 | 0.0089351 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
22 | Line to 3453 | NYY 4x70 SE | 0 | 21 | 0.88325 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
23 | Line to 1543 | NYY 4x16 SE | 20 | 32 | 0.015022 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
24 | Line to 3787 | NYY 4x16 SE | 3 | 51 | 0.025136 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
25 | Line to 1544 | NYY 4x70 SE | 3 | 20 | 0.67415 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
26 | Line to 3788 | NYY 4x70 SE | 0 | 3 | 0.022154 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
27 | Line to 2074 | NYY 4x16 SE | 15 | 35 | 0.012434 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
28 | Line to 2084 | NYY 4x16 SE | 13 | 36 | 0.021487 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
29 | Line to 2086 | NYY 4x16 SE | 14 | 37 | 0.012948 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
30 | Line to 3104 | NYY 4x16 SE | 19 | 43 | 0.013432 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
31 | Line to 3115 | NYY 4x16 SE | 11 | 46 | 0.010522 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
32 | Line to 3117 | NYY 4x16 SE | 10 | 47 | 0.017845 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
33 | Line to 4219 | NYY 4x16 SE | 16 | 53 | 0.01344 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
34 | Line to 4253 | NYY 4x16 SE | 17 | 54 | 0.018055 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
35 | Line to 3105 | NYY 4x95 SE | 17 | 19 | 0.072826 | 0.193 | 0.082 | 0 | 0 | 0.28 | 1 | 1 |  | TRUE
36 | Line to 4254 | NYY 4x95 SE | 16 | 17 | 0.0054674 | 0.193 | 0.082 | 0 | 0 | 0.28 | 1 | 1 |  | TRUE
37 | Line to 4220 | NYY 4x95 SE | 15 | 16 | 0.012484 | 0.193 | 0.082 | 0 | 0 | 0.28 | 1 | 1 |  | TRUE
38 | Line to 2075 | NYY 4x95 SE | 14 | 15 | 0.034819 | 0.193 | 0.082 | 0 | 0 | 0.28 | 1 | 1 |  | TRUE
39 | Line to 2087 | NYY 4x95 SE | 13 | 14 | 0.00059954 | 0.193 | 0.082 | 0 | 0 | 0.28 | 1 | 1 |  | TRUE
40 | Line to 2085 | NYY 4x95 SE | 11 | 13 | 0.017547 | 0.193 | 0.082 | 0 | 0 | 0.28 | 1 | 1 |  | TRUE
41 | Line to 3116 | NYY 4x95 SE | 10 | 11 | 0.0024223 | 0.193 | 0.082 | 0 | 0 | 0.28 | 1 | 1 |  | TRUE
42 | Line to 3118 | NYY 4x95 SE | 0 | 10 | 0.53468 | 0.193 | 0.082 | 0 | 0 | 0.28 | 1 | 1 |  | TRUE
43 | Line to 5180 | NYY 4x16 SE | 18 | 58 | 0.019866 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
44 | Line to 5181 | NYY 4x95 SE | 0 | 18 | 0.66292 | 0.193 | 0.082 | 0 | 0 | 0.28 | 1 | 1 |  | TRUE
45 | Line to 1542 | NYY 4x16 SE | 12 | 31 | 0.01361 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
46 | Line to 3109 | NYY 4x16 SE | 4 | 45 | 0.02719 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
47 | Line to 1195 | NYY 4x70 SE | 4 | 12 | 0.41946 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
48 | Line to 3110 | NYY 4x70 SE | 0 | 4 | 0.1318 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
49 | Line to 2067 | NYY 4x16 SE | 6 | 33 | 0.010371 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
50 | Line to 2071 | NYY 4x16 SE | 8 | 34 | 0.013739 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
51 | Line to 3103 | NYY 4x16 SE | 9 | 42 | 0.021254 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
52 | Line to 3605 | NYY 4x16 SE | 5 | 49 | 0.01882 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
53 | Line to 5265 | NYY 4x16 SE | 7 | 60 | 0.025305 | 1.15 | 0.09 | 0 | 0 | 0.103 | 1 | 1 |  | TRUE
54 | Line to 2073 | NYY 4x70 SE | 8 | 9 | 0.020402 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
55 | Line to 2072 | NYY 4x70 SE | 7 | 8 | 0.018676 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
56 | Line to 5266 | NYY 4x70 SE | 6 | 7 | 0.011131 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
57 | Line to 2068 | NYY 4x70 SE | 5 | 6 | 0.022609 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE
58 | Line to 3606 | NYY 4x70 SE | 0 | 5 | 0.14428 | 0.268 | 0.082 | 0 | 0 | 0.232 | 1 | 1 |  | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | 400 transformer | 0.4 MVA 20/0.4 kV | 1 | 0 | 0.4 | 20 | 0.4 | 6 | 1.425 | 1.35 | 0.3375 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 12.1204 | 47.7418 | 12.1203 | 47.7417
1 | 12.1206 | 47.742 | 12.1206 | 47.7419
2 | 12.121 | 47.7415 | 12.1211 | 47.7416
3 | 12.121 | 47.7416 | 12.1212 | 47.7417
4 | 12.1203 | 47.7362 | 12.1202 | 47.7364
5 | 12.121 | 47.7422 | 12.1212 | 47.742
6 | 12.121 | 47.7416 | 12.121 | 47.7415
7 | 12.1204 | 47.7418 | 12.1205 | 47.7416 | 12.1208 | 47.7418 | 12.121 | 47.7416
8 | 12.1206 | 47.742 | 12.1204 | 47.7418
9 | 12.121 | 47.7422 | 12.121 | 47.7421 | 12.1206 | 47.742
10 | 12.1203 | 47.7362 | 12.1207 | 47.7363 | 12.1205 | 47.7369 | 12.1207 | 47.7373 | 12.1208 | 47.7376 | 12.1209 | 47.7377 | 12.1209 | 47.7378 | 12.1209 | 47.738 | 12.1209 | 47.7381 | 12.1208 | 47.7386 | 12.118 | 47.7402 | 12.118 | 47.7403 | 12.1214 | 47.7415 | 12.1221 | 47.7417 | 12.1221 | 47.7419 | 12.121 | 47.7422
11 | 12.1203 | 47.7362 | 12.1203 | 47.7362
12 | 12.1205 | 47.7415 | 12.1206 | 47.7414
13 | 12.1205 | 47.7415 | 12.1203 | 47.7414
14 | 12.1203 | 47.7362 | 12.1203 | 47.7362 | 12.1207 | 47.7363 | 12.1205 | 47.7369 | 12.1207 | 47.7373 | 12.1208 | 47.7376 | 12.1209 | 47.7377 | 12.1209 | 47.7378 | 12.1209 | 47.738 | 12.1209 | 47.7381 | 12.1209 | 47.7384 | 12.118 | 47.7403 | 12.1221 | 47.7417 | 12.1221 | 47.7419 | 12.121 | 47.7422 | 12.121 | 47.7421 | 12.1206 | 47.742 | 12.1204 | 47.7418 | 12.1205 | 47.7416 | 12.1205 | 47.7415
15 | 12.1206 | 47.7423 | 12.1205 | 47.7425
16 | 12.1204 | 47.7362 | 12.1204 | 47.7362 | 12.1207 | 47.7363 | 12.1205 | 47.7369 | 12.1207 | 47.7373 | 12.1208 | 47.7376 | 12.1209 | 47.7378 | 12.1209 | 47.7378 | 12.1209 | 47.738 | 12.1209 | 47.7381 | 12.1208 | 47.7386 | 12.118 | 47.7402 | 12.118 | 47.7403 | 12.1221 | 47.7417 | 12.1221 | 47.7419 | 12.121 | 47.7422 | 12.121 | 47.7422 | 12.1206 | 47.7423
17 | 12.1183 | 47.7365 | 12.1186 | 47.7364
18 | 12.1183 | 47.7365 | 12.1169 | 47.7366
19 | 12.1183 | 47.7365 | 12.1183 | 47.7365
20 | 12.1204 | 47.7362 | 12.1204 | 47.7362 | 12.1207 | 47.7363 | 12.1205 | 47.7369 | 12.1207 | 47.7373 | 12.1208 | 47.7376 | 12.1209 | 47.7378 | 12.1209 | 47.7378 | 12.1209 | 47.738 | 12.1209 | 47.7381 | 12.1208 | 47.7386 | 12.118 | 47.7402 | 12.1183 | 47.7365
21 | 12.1214 | 47.7415 | 12.1214 | 47.7416
22 | 12.1204 | 47.7362 | 12.1204 | 47.7362 | 12.1207 | 47.7363 | 12.1205 | 47.7369 | 12.1207 | 47.7373 | 12.1208 | 47.7376 | 12.1209 | 47.7378 | 12.1209 | 47.7378 | 12.1209 | 47.738 | 12.1209 | 47.7381 | 12.1208 | 47.7386 | 12.118 | 47.7402 | 12.118 | 47.7403 | 12.1214 | 47.7415
23 | 12.1148 | 47.7368 | 12.1148 | 47.7367
24 | 12.1201 | 47.7361 | 12.1199 | 47.7363
25 | 12.1201 | 47.7361 | 12.1193 | 47.7358 | 12.1191 | 47.7359 | 12.1144 | 47.7362 | 12.1135 | 47.7368 | 12.1148 | 47.7368
26 | 12.1204 | 47.7362 | 12.1204 | 47.7362 | 12.1201 | 47.7361
27 | 12.125 | 47.7396 | 12.1249 | 47.7396
28 | 12.1246 | 47.7395 | 12.1245 | 47.7397
29 | 12.1246 | 47.7395 | 12.1245 | 47.7396
30 | 12.1257 | 47.7392 | 12.1259 | 47.7391
31 | 12.1244 | 47.7395 | 12.1243 | 47.7395
32 | 12.1243 | 47.7395 | 12.1243 | 47.7396
33 | 12.1252 | 47.7396 | 12.1252 | 47.7395
34 | 12.1253 | 47.7396 | 12.1251 | 47.7398
35 | 12.1253 | 47.7396 | 12.1257 | 47.7392
36 | 12.1252 | 47.7396 | 12.1253 | 47.7396
37 | 12.125 | 47.7396 | 12.1252 | 47.7396
38 | 12.1246 | 47.7395 | 12.125 | 47.7396
39 | 12.1246 | 47.7395 | 12.1246 | 47.7395
40 | 12.1244 | 47.7395 | 12.1246 | 47.7395
41 | 12.1243 | 47.7395 | 12.1244 | 47.7395
42 | 12.1204 | 47.7362 | 12.1204 | 47.7362 | 12.1207 | 47.7363 | 12.1205 | 47.7369 | 12.1207 | 47.7374 | 12.1208 | 47.7376 | 12.1209 | 47.7378 | 12.1209 | 47.7379 | 12.1209 | 47.738 | 12.1243 | 47.7395
43 | 12.1257 | 47.7393 | 12.1254 | 47.7392
44 | 12.1204 | 47.7362 | 12.1204 | 47.7362 | 12.1207 | 47.7363 | 12.1205 | 47.7369 | 12.1207 | 47.7374 | 12.1208 | 47.7376 | 12.1209 | 47.7378 | 12.1209 | 47.7379 | 12.1209 | 47.738 | 12.1222 | 47.7387 | 12.1239 | 47.7395 | 12.1252 | 47.7396 | 12.1257 | 47.7393
45 | 12.1148 | 47.7365 | 12.1149 | 47.7366
46 | 12.1188 | 47.7359 | 12.1186 | 47.736
47 | 12.1188 | 47.7359 | 12.1186 | 47.7358 | 12.1144 | 47.7363 | 12.1148 | 47.7365
48 | 12.1204 | 47.7362 | 12.1204 | 47.7362 | 12.1201 | 47.7361 | 12.1193 | 47.7358 | 12.1191 | 47.7359 | 12.1188 | 47.7359
49 | 12.1193 | 47.7364 | 12.1194 | 47.7363
50 | 12.1192 | 47.7366 | 12.1193 | 47.7366
51 | 12.119 | 47.7367 | 12.1187 | 47.7367
52 | 12.1194 | 47.7362 | 12.1196 | 47.7362
53 | 12.1193 | 47.7365 | 12.1189 | 47.7364
54 | 12.1192 | 47.7366 | 12.119 | 47.7367
55 | 12.1193 | 47.7365 | 12.1192 | 47.7366
56 | 12.1193 | 47.7364 | 12.1193 | 47.7365
57 | 12.1194 | 47.7362 | 12.1193 | 47.7364
58 | 12.1204 | 47.7362 | 12.1204 | 47.7362 | 12.1201 | 47.7361 | 12.1193 | 47.7358 | 12.1191 | 47.7359 | 12.1194 | 47.7362

## bus_geodata
| x | y | coords
0 | 12.1203 | 47.7362
1 | 12.1203 | 47.7363
2 | 12.1203 | 47.7362
3 | 12.1201 | 47.7361
4 | 12.1188 | 47.7359
5 | 12.1194 | 47.7362
6 | 12.1193 | 47.7364
7 | 12.1193 | 47.7365
8 | 12.1192 | 47.7366
9 | 12.119 | 47.7367
10 | 12.1243 | 47.7395
11 | 12.1244 | 47.7395
12 | 12.1148 | 47.7365
13 | 12.1246 | 47.7395
14 | 12.1246 | 47.7395
15 | 12.125 | 47.7396
16 | 12.1252 | 47.7396
17 | 12.1253 | 47.7396
18 | 12.1257 | 47.7393
19 | 12.1257 | 47.7392
20 | 12.1148 | 47.7368
21 | 12.1214 | 47.7415
22 | 12.1183 | 47.7365
23 | 12.1183 | 47.7365
24 | 12.121 | 47.7422
25 | 12.1206 | 47.742
26 | 12.1206 | 47.7423
27 | 12.1204 | 47.7418
28 | 12.1205 | 47.7415
29 | 12.121 | 47.7416
30 | 12.121 | 47.7415
31 | 12.1149 | 47.7366
32 | 12.1148 | 47.7367
33 | 12.1194 | 47.7363
34 | 12.1193 | 47.7366
35 | 12.1249 | 47.7396
36 | 12.1245 | 47.7397
37 | 12.1245 | 47.7396
38 | 12.1203 | 47.7417
39 | 12.1206 | 47.7419
40 | 12.1205 | 47.7425
41 | 12.1206 | 47.7414
42 | 12.1187 | 47.7367
43 | 12.1259 | 47.7391
44 | 12.1186 | 47.7364
45 | 12.1186 | 47.736
46 | 12.1243 | 47.7395
47 | 12.1243 | 47.7396
48 | 12.1214 | 47.7416
49 | 12.1196 | 47.7362
50 | 12.1203 | 47.7414
51 | 12.1199 | 47.7363
52 | 12.1169 | 47.7366
53 | 12.1252 | 47.7395
54 | 12.1251 | 47.7398
55 | 12.1211 | 47.7416
56 | 12.1212 | 47.7417
57 | 12.1202 | 47.7364
58 | 12.1254 | 47.7392
59 | 12.1212 | 47.742
60 | 12.1189 | 47.7364

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403
NYY 4x16 SE | 0 | 1.15 | 0.09 | 0.103 |  | 16
NYY 4x35 SE | 0 | 0.524 | 0.085 | 0.159 |  | 35
NAYY 4x185 SE | 0 | 0.164 | 0.08 | 0.313 |  | 185
NAYY 4x95 SE | 0 | 0.32 | 0.082 | 0.215 |  | 95
NYY 4x70 SE | 0 | 0.268 | 0.082 | 0.232 |  | 70
NYY 4x95 SE | 0 | 0.193 | 0.082 | 0.28 |  | 95

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | bus | min_vm_pu | float64
6 | bus | max_vm_pu | float64
7 | load | name | object
8 | load | bus | uint32
9 | load | p_mw | float64
10 | load | q_mvar | float64
11 | load | const_z_percent | float64
12 | load | const_i_percent | float64
13 | load | sn_mva | float64
14 | load | scaling | float64
15 | load | in_service | bool
16 | load | type | object
17 | load | max_p_mw | float64
18 | ext_grid | name | object
19 | ext_grid | bus | uint32
20 | ext_grid | vm_pu | float64
21 | ext_grid | va_degree | float64
22 | ext_grid | slack_weight | float64
23 | ext_grid | in_service | bool
24 | line | name | object
25 | line | std_type | object
26 | line | from_bus | uint32
27 | line | to_bus | uint32
28 | line | length_km | float64
29 | line | r_ohm_per_km | float64
30 | line | x_ohm_per_km | float64
31 | line | c_nf_per_km | float64
32 | line | g_us_per_km | float64
33 | line | max_i_ka | float64
34 | line | df | float64
35 | line | parallel | uint32
36 | line | type | object
37 | line | in_service | bool
38 | trafo | name | object
39 | trafo | std_type | object
40 | trafo | hv_bus | uint32
41 | trafo | lv_bus | uint32
42 | trafo | sn_mva | float64
43 | trafo | vn_hv_kv | float64
44 | trafo | vn_lv_kv | float64
45 | trafo | vk_percent | float64
46 | trafo | vkr_percent | float64
47 | trafo | pfe_kw | float64
48 | trafo | i0_percent | float64
49 | trafo | shift_degree | float64
50 | trafo | tap_side | object
51 | trafo | tap_neutral | int32
52 | trafo | tap_min | int32
53 | trafo | tap_max | int32
54 | trafo | tap_step_percent | float64
55 | trafo | tap_step_degree | float64
56 | trafo | tap_pos | int32
57 | trafo | tap_phase_shifter | bool
58 | trafo | parallel | uint32
59 | trafo | df | float64
60 | trafo | in_service | bool
61 | line_geodata | coords | object
62 | bus_geodata | x | float64
63 | bus_geodata | y | float64
64 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.12.1 | 2.12.0 | FALSE | FALSE |  | 50 | 1